## MEDDEV SAE REPORT TABLE
MEDDEV 2.7/3 SAE Report Table v2
EUDAMED - ID:
Title of Clinical Investigation:
CIP Number:
Contact person (Name, Address, E-Mail, Telephone Number) | [10 empty] | Device type:
MS+NCA Reference Numbers for all participating Countries: | [10 empty] | Reference Member State:
No. of Patients enrolled to date total: |  |  |  | No. of Patients enrolled to date (date of report) per country: | [6 empty] | No. of Invest. Devices used to date total: |  |  | No. of Invest. Devices used to date per country:
Date of Report: |  | dd/mm/yyyy
Status: A, M, U | Date Sponsor received Report of SAE (dd/mm/yyyy) | Countrycode | Study Center | Patient ID Code | SAE ID Code | Date of Procedure/ First Use (dd/mm/yyyy) | Date of Event Onset (dd/mm/yyyy) | SAE OR Dev. Def. | Description of event | action/ treatment/patient outcome | Relationship to Procedure: not related OR unlikely OR possible OR probable OR causal relationship | Relationship to Investigational Device: not related OR unlikely OR possible OR probable OR causal relationship | Unanticipated SADE: Yes OR No | Treatment Arm: Investigational Device/ Control Group/ blinded/ n.a. | Event Status: Resolved/ Resolved with Sequelae/ Ongoing/Death | Date of Event Resolution (dd/mm/yyyy)
Note 1: Submission of this report does not, in itself, represent a conclusion by the sponsor or the competent authority that the content of this report is complete or that the device(s) listed failed in any manner and/or that the device(s) caused or contributed to the alleged death or deterioration in the state of the health of any person. Note 2: If additional columns are added to this form (for instance to include the opinion of the investigators), please add them next to the existing columns on the right. This form may be subjected to automatic analysis and addition of columns in between may interfere with automatic analysis. Widthening of columns can be applied without alteration of the order.
Note on L5: eg: pacemaker; coronary stent; hip implant;
Note on L6: comment: Member State which drew Unique EUDAMED-CI Code
Note on A9: comment: Status column: A = added, new reportable event; M = modified, new information for this already reported event; U = unchanged, no new information for this line; changes in a line should be highlighted in bold and/or color in the relevant columns;
Note on C9: comment: E.g.: NL, DK, PT, UK, FR, DU, etc.
Note on F9: The investigator, sponsor or manufacturer should assign a unique ID to each SAE that has occurred and which shall remain unchanged throughout all other alterations of the particular SAE-reporting due to ongoing assessment.
Note on I9: Choose one option from: SAE Device Deficiency (Dev. Def.) Do not add other options.
Note on J9: comment: Describe event as briefly as possible. Description may include eg.: symptoms, clinical signs, disease, injury, death, type of device malfunction of device deficiency.
Note on K9: comment: eg. action taken, treatment, other possible causes of event, ongoing concomitant medication, patient outcome
Note on L9: comment: Choose which of available options is most appropriate at the time, do not include new options. Assessment of relationship to the procedure can be made by the investigator, which shall be documented. If the manufacturer has a different opinion from the investigator, both shall be documented.
Note on M9: comment: Choose which of available options is most appropriate at the time, do not include new options. Assessment of relationship to the procedure can be made by the investigator, which shall be documented. If the manufacturer has a different opinion from the investigator, both shall be documented.

## SUMMARY REPORTS
MONTHLY REPORT
EVENT TYPE | NUMBER OF EVENTS | NUMBER OF PARTICIPANTS AFFECTED | % OF PARTICIPANTS AFFECTED
e.g. stroke
e.g. heart failure
INDIVIDUAL EVENT SUMMARY
EVENT | RESULTED IN DEATH (Y/N) | CAUSE OF DEATH